## Start Here
HVAC Flat-Rate Price Book
Free template from EstimateKit · estimatekit.com/free-templates
HOW TO USE THIS WORKBOOK
| 1. Set your numbers | Settings tab: your hourly rate, what an hour of a tech costs you, and the parts markup scale. Every price updates.
| 2. Put in your part costs | Repairs tab: replace each amber part cost with what your supply house charges you. Hours are amber too; change them to how long your techs take.
| 3. Check the price column | Price = parts at your markup + hours at your rate, rounded up to end in 9. Margin shows what you keep after parts and tech time.
| 4. Compare with the market | Columns to the right list what homeowners are quoted for 18 of the repairs (Fixr and HomeAdvisor). They don't print.
| 5. Add your own | Copy a row to add a repair. Keep the hours honest: one tech, setup and cleanup included, no drive time.
HOW THE CELLS WORK
| Amber cell | You type here. Everything you need to fill in is amber.
| White cell with a number | A formula. Leave it alone; it updates itself. The sheet is protected so you can't overwrite one by accident. To change a formula anyway: Review › Unprotect Sheet (no password).
Works in Microsoft Excel, Google Sheets (File › Import) and Apple Numbers. Questions: hello@estimatekit.com
Faster: EstimateKit has these 41 repairs built in. Set your rate and markup once and every repair is priced, then pick them onto a quote the customer approves on their phone. $49/month for the whole team. estimatekit.com

## Settings
Settings
Every price on the Repairs tab reads these cells.
LABOR
| Hourly rate (what you charge) | 125 | Billed per repair hour. $125 is EstimateKit's starting rate; most shops land between $100 and $175.
| Tech cost per hour | 45 | Wage plus taxes, insurance and benefits. Used only for the margin column.
PARTS MARKUP BY PART COST (SLIDING SCALE)
| Part cost from | Multiplier | Example
| 0 | 4 | $6 fuse sells for $24
| 10 | 3 | $25 capacitor sells for $75
| 50 | 2.5 | $80 part sells for $200
| 100 | 2 | $180 part sells for $360
| 250 | 1.5 | $400 part sells for $600
From the HVAC markup chart (estimatekit.com/blog/hvac-markup-chart-2026). For one flat markup instead, put the same multiplier in every row (1.50 = 50% markup). Keep the 'from' column in order, smallest first.

## Repairs
HVAC flat-rate price book
41 repairs · hours, parts and price · built 2026-10-29 · amber cells are yours to change
Group | Repair | What the customer gets | Unit | Hours | Part 1 | Cost | Qty | Part 2 | Cost | Qty | Part 3 | Cost | Qty | Parts at cost | Parts sell | Labor | Price | Your cost | Margin | Published low | Published high | Source
Cooling | Replace run capacitor (single) | Test and replace the failed run capacitor with a matched rating, then check amp draw. | each | 0.5 | Run Capacitor Single (5-80 MFD) | 13.5 | 1 | [12 empty] | 100 | 400 | https://www.fixr.com/articles/ac-repair-cost-understanding-common-issues-and-when-to-replace
Cooling | Replace run capacitor (dual) | Test and replace the failed dual run capacitor with a matched rating, then check amp draw. | each | 0.5 | Run Capacitor Dual (35/5 MFD) | 18 | 1 | [12 empty] | 100 | 400 | https://www.fixr.com/articles/ac-repair-cost-understanding-common-issues-and-when-to-replace
Cooling | Replace contactor | Replace the worn or pitted outdoor unit contactor and test operation. | each | 0.75 | Contactor 30-Amp | 21 | 1 | [12 empty] | 150 | 400 | https://www.fixr.com/articles/ac-repair-cost-understanding-common-issues-and-when-to-replace
Cooling | Install hard start kit | Add a hard start kit to help the compressor start and reduce strain. | each | 0.75 | Hard start kit | 35 | 1
Cooling | Install surge protector | Install a surge protector at the outdoor unit to protect the compressor and controls. | each | 0.75 | HVAC surge protector | 45 | 1
Cooling | Replace condenser fan motor | Replace the outdoor fan motor and its capacitor, and check the blade and wiring. | each | 1.5 | Condenser fan motor (universal) | 120 | 1 | Run Capacitor Single (5-80 MFD) | 13.5 | 1 | [9 empty] | 200 | 700 | https://www.fixr.com/articles/ac-repair-cost-understanding-common-issues-and-when-to-replace
Cooling | Clean condenser coil | Chemically clean and rinse the outdoor coil to restore airflow and efficiency. | each | 1 | Coil Cleaner Solution | 13.5 | 1
Cooling | Clean evaporator coil | Clean the indoor coil (accessible coils) and flush the drain pan. | each | 2 | Coil Cleaner Solution | 13.5 | 2
Cooling | Refrigerant leak search | Electronic and bubble leak search of the refrigerant circuit, with findings and repair options. | each | 1.5 | Leak Detector Dye | 16.5 | 1
Cooling | Add refrigerant R-410A (per lb) | R-410A refrigerant added to bring the system to the correct charge. | lb | 0.1 | R-410A Refrigerant | 18 | 1 | [12 empty] | 65 | 120 | https://www.fixr.com/articles/ac-repair-cost-understanding-common-issues-and-when-to-replace
Cooling | Add refrigerant R-454B (per lb) | R-454B refrigerant added to bring the system to the correct charge. | lb | 0.1 | R-454B refrigerant (lb) | 18 | 1
Cooling | Add refrigerant R-22 (per lb) | Reclaimed R-22 refrigerant added to bring an older system to charge. | lb | 0.1 | R-22 Refrigerant | 50 | 1 | [12 empty] | 50 | 150 | https://www.fixr.com/articles/ac-repair-cost-understanding-common-issues-and-when-to-replace
Cooling | Replace TXV | Recover refrigerant, replace the expansion valve, pressure test, evacuate and recharge. | each | 4 | Thermostatic expansion valve | 160 | 1 | Brazing Rod/Silver Solder | 9 | 2 | Nitrogen Tank Rental | 22.5 | 1 | [6 empty] | 100 | 500 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-an-hvac-system/
Cooling | Replace defrost control board | Replace the heat pump defrost board and test a full defrost cycle. | each | 1 | Defrost control board | 140 | 1
Heating | Replace hot surface igniter | Replace the failed furnace igniter and test several ignition cycles. | each | 0.75 | Hot surface igniter (universal) | 35 | 1 | [12 empty] | 150 | 500 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Clean flame sensor | Clean the flame sensor and check the flame signal so the furnace stays lit. | each | 0.5
Heating | Replace flame sensor | Replace the flame sensor and check the flame signal. | each | 0.5 | Flame sensor | 18 | 1 | [12 empty] | 150 | 250 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Replace inducer motor | Replace the draft inducer motor assembly and verify venting and pressure switch operation. | each | 2 | Inducer motor assembly | 220 | 1 | [12 empty] | 200 | 1500 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Replace pressure switch | Replace the furnace pressure switch and test the ignition sequence. | each | 0.75 | Furnace pressure switch | 40 | 1
Heating | Replace limit switch | Replace the high limit switch and check temperature rise and airflow. | each | 0.75 | Limit switch | 25 | 1 | [12 empty] | 150 | 300 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Replace rollout switch | Replace the flame rollout switch and inspect the burners and heat exchanger area. | each | 0.5 | Rollout switch | 15 | 1
Heating | Replace gas valve | Replace the furnace gas valve, leak test the connections and set the gas pressure. | each | 1.5 | Furnace gas valve | 150 | 1 | [12 empty] | 200 | 600 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Replace furnace control board | Replace the furnace control board, rewire and test every heating and fan mode. | each | 1.5 | Universal furnace control board | 160 | 1 | [12 empty] | 200 | 600 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Replace thermocouple | Replace the thermocouple on a standing-pilot appliance and relight. | each | 0.5 | Thermocouple | 15 | 1
Heating | Replace blower motor (PSC) | Replace the indoor blower motor and capacitor, and check amp draw and airflow. | each | 1.5 | Blower motor (PSC, universal) | 140 | 1 | Run Capacitor Single (5-80 MFD) | 13.5 | 1 | [9 empty] | 150 | 2000 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Replace blower motor (ECM) | Replace the variable-speed (ECM) blower motor module and set the airflow. | each | 2 | ECM blower motor module | 450 | 1 | [12 empty] | 150 | 2000 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Heating | Clean blower wheel | Remove, clean and reinstall the blower wheel to restore airflow. | each | 2
Electrical | Replace 24V transformer | Replace the control transformer and check for shorts in the low-voltage wiring. | each | 0.75 | Transformer 24V/40VA | 18 | 1 | [12 empty] | 100 | 175 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Electrical | Replace relay | Replace the failed control relay and test operation. | each | 0.5 | Relay Switch | 10.5 | 1
Electrical | Replace disconnect box | Replace the outdoor disconnect and whip. | each | 1 | Disconnect Box 60-Amp | 27 | 1 | Electrical Whip 1/2" x 6' | 22.5 | 1
Electrical | Replace HVAC breaker | Replace the failed breaker on the HVAC circuit and check the load. | each | 0.75 | Circuit Breaker 30-Amp | 13.5 | 1
Electrical | Replace blown fuse | Replace the blown fuse and find what caused it. | each | 0.25 | Fuse (Various Amperage) | 3.9 | 1
Controls | Replace thermostat (programmable) | Replace the thermostat with a programmable model and set the schedule. | each | 0.75 | Programmable Thermostat (Basic) | 36 | 1 | [12 empty] | 100 | 600 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Controls | Install smart thermostat | Install a Wi-Fi thermostat, connect it to the app and set the schedule. | each | 1 | Smart Thermostat - WiFi Enabled | 105 | 1 | [12 empty] | 100 | 600 | https://www.homeadvisor.com/cost/heating-and-cooling/repair-a-furnace/
Controls | Replace zone damper | Replace the failed motorized zone damper and test each zone. | each | 1.5 | Zone Damper (Motorized) | 135 | 1
Drainage | Clear condensate drain line | Clear and flush the condensate drain and treat the pan. | each | 0.75 | Condensate Line Flush Kit | 13.5 | 1
Drainage | Replace condensate pump | Replace the condensate pump and its tubing, and test the overflow cut-off. | each | 1 | Condensate Pump | 69 | 1 | Condensate Drain Line 3/4" PVC | 0.9 | 10
Drainage | Install float safety switch | Add a float switch that shuts the system off before the drain overflows. | each | 0.5 | Float Switch (Safety) | 22.5 | 1
Drainage | Replace secondary drain pan | Replace the rusted or cracked secondary drain pan. | each | 1.5 | Condensate Drain Pan (Secondary) | 31.5 | 1
Air quality | Install UV light | Install a UV air purifier in the air handler to keep the coil clean. | each | 1.5 | UV Light Air Purifier | 360 | 1
Diagnostics | Diagnostic service call | Trip to the home and a full diagnosis of the problem, with repair options and prices. | each | 1
Hours: one tech, typical home, setup and cleanup included, no drive time. Part costs are typical 2026 contractor costs; use your supply house's. R-410A at $18/lb (AC Direct: $16-20 contractor cost, 2026). Published ranges are what homeowners are quoted, from Fixr (July 2026) and HomeAdvisor (updated June 2026).